## Specification
SCHEDULE 3 TECHNICAL PROPOSAL - DETAILS OF PRODUCTS OFFERED THE SUPPLY AND DELIVERY OF MEDICAL CONSUMABLES FOR BRUNEI ENGINEERING, LOGISTICS AND TRAINING SOLUTIONS SDN BHD FOR ONE PLUS ONE (1+1) YEARS TENDER BATCH: BELTS/MSC/PROC/MC/2024/7
NO. | ITEM DESCRIPTION | SPECIFICATION | UOM | ESTIMATED ANNUAL USAGE | BUFFER STOCK REQUIRED | SHELF LIFE | DELIVERY PERIOD
1 | Adhesive Film Dressing Opsite Flexigrid Size: 10cm x 12cm | - transparent, adhesive film with unique wound mapping grid - film is moisture vapour permeable, comfortable and extensible - it is clinically proven to promote moist wound healing for superficial wound - ideal for use a secondary dressing and to help prevent pressure sores - rapid, less painful wound healing - superior film with acrylic adhesive - waterproof film - simple, effective application technique - adaptable to awkward area - provides a bacterial barrier - size: 10cm x 12cm | Box | 880 | 20% of Estimated Annual Usage | Minimum of 2 years’ shelf life upon receipt. Any period less than 2 years to provide Letter of Undertaking | First order within 2 months upon receipt of purchase order, subsequent order ex-stock
2 | Adhesive Film Dressing Opsite Flexigrid Size: 12cm x 25cm | - transparent, adhesive film with unique wound mapping grid - film is moisture vapour permeable, comfortable and extensible - it is clinically proven to promote moist wound healing for superficial wound - ideal for use a secondary dressing and to help prevent pressure sores - rapid, less painful wound healing - superior film with acrylic adhesive - waterproof film - simple, effective application technique - adaptable to awkward area - provides a bacterial barrier - size: 12cm x 25cm | PC | 3400 | 20% of Estimated Annual Usage | Minimum of 2 years’ shelf life upon receipt. Any period less than 2 years to provide Letter of Undertaking | First order within 2 months upon receipt of purchase order, subsequent order ex-stock
3 | Adhesive Film Dressing Opsite Flexigrid Size: 45cm x 28cm | - transparent, adhesive film with unique wound mapping grid - film is moisture vapour permeable, comfortable and extensible - it is clinically proven to promote moist wound healing for superficial wound - ideal for use a secondary dressing and to help prevent pressure sores - rapid, less painful wound healing - superior film with acrylic adhesive - waterproof film - simple, effective application technique - adaptable to awkward area - provides a bacterial barrier - size: 45cm x 28cm | PC | 2000 | 20% of Estimated Annual Usage | Minimum of 2 years’ shelf life upon receipt. Any period less than 2 years to provide Letter of Undertaking | First order within 2 months upon receipt of purchase order, subsequent order ex-stock
4 | Adhesive Film Dressing Opsite Incise Drape Size: 14cm x 25cm | - transparent, adhesive film with unique wound mapping grid - film is moisture vapour permeable, comfortable and extensible - it is clinically proven to promote moist wound healing for superficial wound - ideal for use a secondary dressing and to help prevent pressure sores - rapid, less painful wound healing - superior film with acrylic adhesive - waterproof film - simple, effective application technique - adaptable to awkward area - provides a bacterial barrier - size: 14cm x 25cm | Pc | 2000 | 20% of Estimated Annual Usage | Minimum of 2 years’ shelf life upon receipt. Any period less than 2 years to provide Letter of Undertaking | First order within 2 months upon receipt of purchase order, subsequent order ex-stock
5 | Adhesive Film Dressing Opsite Incise Drape Size: 30cm x 28cm | - transparent, adhesive film with unique wound mapping grid - film is moisture vapour permeable, comfortable and extensible - it is clinically proven to promote moist wound healing for superficial wound - ideal for use a secondary dressing and to help prevent pressure sores - rapid, less painful wound healing - superior film with acrylic adhesive - waterproof film - simple, effective application technique - adaptable to awkward area - provides a bacterial barrier - size: 30cm x 28cm | PC | 200 | 20% of Estimated Annual Usage | Minimum of 2 years’ shelf life upon receipt. Any period less than 2 years to provide Letter of Undertaking | First order within 2 months upon receipt of purchase order, subsequent order ex-stock
6 | Opsite Spray, 40ml | - a permeable, transparent, water resistant, spray on dressing - it can be used as protection for minor surgical wounds, cuts, grazes, unbroken blisters and dry wounds - quick drying and easy to use - permeable to air and moisture vapour - bacteria-proof film - flexible and elastic | BOTTLE | 600 | 20% of Estimated Annual Usage | Minimum of 2 years’ shelf life upon receipt. Any period less than 2 years to provide Letter of Undertaking | First order within 2 months upon receipt of purchase order, subsequent order ex-stock
7 | Intrasite Gel. 25gm | - a clear amorphous hydrogel that encourage rapid but gentle debridement of necrotic tissue, able to absorb sloughly tissue and excess exudate - ideall for every stage in the wound healing process and to provide a moist wound healing environment during later stage of wound closure - contain modified carboxymethyl cellulose polymer, propylene glycol and water - non-adherent - can be easily removed from the wound by irrigation with normal saline; without damaging fragile tissue or cause unnecessary pain for patient - bacteriostatic effect - clinically proven hydrogel - in new easy squeezy applipak - provides controlled delivery of gel for less mess and waste and also in awkward wound sites, dispenses the full amount of gel for cost-effective care - size: 25g applipak | TUBE | 1800 | 20% of Estimated Annual Usage | Minimum of 2 years’ shelf life upon receipt. Any period less than 2 years to provide Letter of Undertaking | First order within 2 months upon receipt of purchase order, subsequent order ex-stock
8 | Urine Bag Disposable, Paediatric 100ml | - urine bag paediatric - disposable - single use - sterile - made of PE + paper + sponge - with graduated - directly to touch with body, can't hanged to bedside - can measurement of urine - without drain valve (cannot drain to empty) - capacity: 100ml (front type of flat type) | PC | 6000 | 20% of Estimated Annual Usage | Minimum of 2 years’ shelf life upon receipt. Any period less than 2 years to provide Letter of Undertaking | First order within 2 months upon receipt of purchase order, subsequent order ex-stock
9 | Urine Bag with Two Compartment for Hourly Measurement of Urine, Disposable | - capacity: 2,500ml - sterilized by Ethylene Oxide (EO) - 10*120cm transparent inlet tube for measurement use - urine meter with chamber for accurate measuring of hourly diuresis | PC | 3950 | 20% of Estimated Annual Usage | Minimum of 2 years’ shelf life upon receipt. Any period less than 2 years to provide Letter of Undertaking | First order within 2 months upon receipt of purchase order, subsequent order ex-stock
10 | Urine Bag Disposable, Adult 2500ml | - closed urinary drainage technology that optimizes patient comfort and environmental friendliness - the bag and inlet tube made of ethylene vinyl acetate copolymers (EVA) unstretchable material that maintains scale accuracy - the interior of the inlet tube is star-shaped, allowing smooth and uninterrupted flow even if the tube is twisted or folded - the drip chamber is designed with a protrusion and a flange - with no-leak air filter that made of a special fluoride-based resin that prevents leak even if it is wet - with non-return valve - provided with outlet tubing clamp - low-profile design for low beds, measure just 255mm from top to bottom - sterilized by electron beam - bag capacity: 2500ml - PVC free - for adult - for medical purposes | PC | 20000 | 20% of Estimated Annual Usage | Minimum of 2 years’ shelf life upon receipt. Any period less than 2 years to provide Letter of Undertaking | First order within 2 months upon receipt of purchase order, subsequent order ex-stock
11 | Bladder Irrigation Set | - I.E tur twin set for intra and post-operative - ecospike no. 2 irrigation set - tur-twin line irrigation set for intra and post-operative urological irrigation - 2 ecospike - connectors - 2 pressure clamp - y-connection - drip chamber - roller clamp - standard cone with 15cm silicone tubing for connection with resectoscopes - flow rate: approximately 800ml/min - tubing length till y-connection: 50cm each - length approximately: 210cm | SET | 600 | 20% of Estimated Annual Usage | Minimum of 2 years’ shelf life upon receipt. Any period less than 2 years to provide Letter of Undertaking | First order within 2 months upon receipt of purchase order, subsequent order ex-stock
12 | Alkaline Battery 9 Volts | - alkaline battery 9 Volts - long-lasting: 48-75 hours usage - suitable for any medical equipment | PC | 1300 | 20% of Estimated Annual Usage | Minimum of 2 years’ shelf life upon receipt. Any period less than 2 years to provide Letter of Undertaking | First order within 2 months upon receipt of purchase order, subsequent order ex-stock
13 | Alkaline Battery 1.5 Volts Size: D | - alkaline battery 1.5 Volts Size: D - long-lasting: 48-75 hours usage - suitable for any medical equipment | PC | 3300 | 20% of Estimated Annual Usage | Minimum of 2 years’ shelf life upon receipt. Any period less than 2 years to provide Letter of Undertaking | First order within 2 months upon receipt of purchase order, subsequent order ex-stock
14 | Alkaline Battery 1.5 Volts Size: C | - alkaline battery 1.5 Volts Size: C - long-lasting: 48-75 hours usage - suitable for any medical equipment | PC | 2800 | 20% of Estimated Annual Usage | Minimum of 2 years’ shelf life upon receipt. Any period less than 2 years to provide Letter of Undertaking | First order within 2 months upon receipt of purchase order, subsequent order ex-stock
15 | Alkaline Battery 1.5 Volts Size: AA | - alkaline battery 1.5 Volts Size: AA - long-lasting: 48-75 hours usage - suitable for any medical equipment | PC | 12400 | 20% of Estimated Annual Usage | Minimum of 2 years’ shelf life upon receipt. Any period less than 2 years to provide Letter of Undertaking | First order within 2 months upon receipt of purchase order, subsequent order ex-stock
16 | Alkaline Battery 1.5 Volts Size: AAA | - alkaline battery 1.5 Volts Size: AAA - long-lasting: 48-75 hours usage - suitable for any medical equipment | PC | 9200 | 20% of Estimated Annual Usage | Minimum of 2 years’ shelf life upon receipt. Any period less than 2 years to provide Letter of Undertaking | First order within 2 months upon receipt of purchase order, subsequent order ex-stock
17 | Cervical Collar Hard Size: Large | - plastic type cervical collars - designed to use in the treatment of neck strains and sprains by restricting movement of the cervical vertebrae - sturdy, low density PE sheet edged top and bottom with PVC leather covered foam padding - perforated for excellent air ventilation - contact closure for easy fit and adjustment - two-piece structure - size large: 10cm (w) x 58.5cm (l) | PC | 100 | 20% of Estimated Annual Usage | Minimum of 2 years’ shelf life upon receipt. Any period less than 2 years to provide Letter of Undertaking | First order within 2 months upon receipt of purchase order, subsequent order ex-stock
18 | Cervical Collar Hard Size: Medium | - plastic type cervical collars - designed to use in the treatment of neck strains and sprains by restricting movement of the cervical vertebrae - sturdy, low density PE sheet edged top and bottom with PVC leather covered foam padding - perforated for excellent air ventilation - contact closure for easy fit and adjustment - two-piece structure - size medium: 9cm (w) x 54.5cm (l) | PC | 100 | 20% of Estimated Annual Usage | Minimum of 2 years’ shelf life upon receipt. Any period less than 2 years to provide Letter of Undertaking | First order within 2 months upon receipt of purchase order, subsequent order ex-stock
19 | Cervical Collar Hard Size: Small | - plastic type cervical collars - designed to use in the treatment of neck strains and sprains by restricting movement of the cervical vertebrae - sturdy, low density PE sheet edged top and bottom with PVC leather covered foam padding - perforated for excellent air ventilation - contact closure for easy fit and adjustment - two-piece structure - size small: 8.5cm (w) x 50.5cm (l) | PC | 100 | 20% of Estimated Annual Usage | Minimum of 2 years’ shelf life upon receipt. Any period less than 2 years to provide Letter of Undertaking | First order within 2 months upon receipt of purchase order, subsequent order ex-stock
20 | Cervical Collar Soft Size: Large | - breathable stockinette and high density soft foam is comfortable to wear - absorbing perspiration and to keep the user comfortable yet supported - convenient for wear while sleeping - provides limited cervical motion control - cervical facet syndrome - alleviate neck muscles strain or sprain - composition: 65% foam, 30% cotton and 5% nylon - size: large | PC | 500 | 20% of Estimated Annual Usage | Minimum of 2 years’ shelf life upon receipt. Any period less than 2 years to provide Letter of Undertaking | First order within 2 months upon receipt of purchase order, subsequent order ex-stock
21 | Cervical Collar Soft Size: Medium | - breathable stockinette and high density soft foam is comfortable to wear - absorbing perspiration and to keep the user comfortable yet supported - convenient for wear while sleeping - provides limited cervical motion control - cervical facet syndrome - alleviate neck muscles strain or sprain - composition: 65% foam, 30% cotton and 5% nylon - size: medium | PC | 500 | 20% of Estimated Annual Usage | Minimum of 2 years’ shelf life upon receipt. Any period less than 2 years to provide Letter of Undertaking | First order within 2 months upon receipt of purchase order, subsequent order ex-stock
22 | Cervical Collar Soft Size: Small | - breathable stockinette and high density soft foam is comfortable to wear - absorbing perspiration and to keep the user comfortable yet supported - convenient for wear while sleeping - provides limited cervical motion control - cervical facet syndrome - alleviate neck muscles strain or sprain - composition: 65% foam, 30% cotton and 5% nylon - size: small | PC | 500 | 20% of Estimated Annual Usage | Minimum of 2 years’ shelf life upon receipt. Any period less than 2 years to provide Letter of Undertaking | First order within 2 months upon receipt of purchase order, subsequent order ex-stock

## Sch 3 - Item 1 - Item 5
SCHEDULE 3 TECHNICAL PROPOSAL - DETAILS OF PRODUCTS OFFERED THE SUPPLY AND DELIVERY OF MEDICAL CONSUMABLES FOR BRUNEI ENGINEERING, LOGISTICS AND TRAINING SOLUTIONS SDN BHD FOR ONE PLUS ONE (1+1) YEARS TENDER BATCH: BELTS/MSC/PROC/MC/2024/7
No. | PARTICULARS | SPECIFICATION AND REQUIREMENT | INFORMATION REQUIRED | ITEM 1 | ITEM 2 | ITEM 3 | ITEM 4 | ITEM 5
|  |  |  | Adhesive Film Dressing Opsite Flexigrid Size: 10cm x 12cm | Adhesive Film Dressing Opsite Flexigrid Size: 12cm x 25cm | Adhesive Film Dressing Opsite Flexigrid Size: 45cm x 28cm | Adhesive Film Dressing Opsite Incise Drape Size: 14cm x 25cm | Adhesive Film Dressing Opsite Incise Drape Size: 30cm x 28cm
1 | Product details | Details of Brand | Product / Brand Name including Item Code (if applicable)
|  | Details of Pack Size and Type of Presentation Offered | Pack Size
|  | The name of Manufacturer where product is obtained and its details | Manufacturer information
2 | Product Specifications | Indicate if the product specifications are met, if not please specify accordingly | Please refer to individual item's required specifications | - transparent, adhesive film with unique wound mapping grid - film is moisture vapour permeable, comfortable and extensible - it is clinically proven to promote moist wound healing for superficial wound - ideal for use a secondary dressing and to help prevent pressure sores - rapid, less painful wound healing - superior film with acrylic adhesive - waterproof film - simple, effective application technique - adaptable to awkward area - provides a bacterial barrier - size: 10cm x 12cm | - transparent, adhesive film with unique wound mapping grid - film is moisture vapour permeable, comfortable and extensible - it is clinically proven to promote moist wound healing for superficial wound - ideal for use a secondary dressing and to help prevent pressure sores - rapid, less painful wound healing - superior film with acrylic adhesive - waterproof film - simple, effective application technique - adaptable to awkward area - provides a bacterial barrier - size: 12cm x 25cm | - transparent, adhesive film with unique wound mapping grid - film is moisture vapour permeable, comfortable and extensible - it is clinically proven to promote moist wound healing for superficial wound - ideal for use a secondary dressing and to help prevent pressure sores - rapid, less painful wound healing - superior film with acrylic adhesive - waterproof film - simple, effective application technique - adaptable to awkward area - provides a bacterial barrier - size: 45cm x 28cm | - transparent, adhesive film with unique wound mapping grid - film is moisture vapour permeable, comfortable and extensible - it is clinically proven to promote moist wound healing for superficial wound - ideal for use a secondary dressing and to help prevent pressure sores - rapid, less painful wound healing - superior film with acrylic adhesive - waterproof film - simple, effective application technique - adaptable to awkward area - provides a bacterial barrier - size: 14cm x 25cm | - transparent, adhesive film with unique wound mapping grid - film is moisture vapour permeable, comfortable and extensible - it is clinically proven to promote moist wound healing for superficial wound - ideal for use a secondary dressing and to help prevent pressure sores - rapid, less painful wound healing - superior film with acrylic adhesive - waterproof film - simple, effective application technique - adaptable to awkward area - provides a bacterial barrier - size: 30cm x 28cm
3 | Lead Time | Specify the lead time of new production of Goods inclusive redressing, in Weeks or Months | Lead time for New Production of Item including redressing
4 | Delivery Period | Please indicate the lead-time for delivery period including shipment to Brunei Darussalam. The shortest or specific lead-time will be preferred. Not acceptable if language used to describe lead time as “Not more than 60-90 days upon confirmation, however subject to stocks availability upon receipt of purchase order” would be regarded as unspecified lead time which therefore be considered as the longest lead-time | Lead time for delivery of item to Brunei Darussalam
5 | Ex-Stock Availability | Indicate whether existing stock is available for immediate purchase and the quantity in hand. Availability of ex-stock will be preferred | Ex-Stock of item available with supplier
Quantity available
6 | Sample Submitted | *If the conditions below applies to the items offered, Bidders are REQUIRED to submit sample of products for evaluation: • The Bidder has not supplied the product to BELTS or MOH; or • The Bidder has previously supplied the product to BELTS or MOH, however has exceeded two (2) years from the date of Tender released; or Failure to submit samples will automatically disqualify the Bidder from evaluation in the Tender. Samples are required to be submitted in the following conditions with Schedule 4 Technical Proposal - Sample Submission Form: • Must be submitted in untampered original pack including its package insert; • The sample should be labelled with tender reference number and listed item no.; • Must be submitted with Submission of Sample Form; and Bidder are reminded to ensure the product sample match with their offer. | Sample Ref. No (MC/2024/7/Sample…)
7 | Other details / documents provided | The followings are required to be submitted: High resolution and legible color photo images of the following: • Photo images of product offered which must include essential details of label on the primary and secondary packaging such as product name / manufacturer details - from all sides/angles of the packaging. (Please attached with the document) • Brochures with Instruction for use/product manuals submitted (Kindly submit official brochures for offerd items) | Product Images and Product Brochures provided
|  | The storage condition of the product should be labelled in accordance with ASEAN Guideline on Stability Study of Drug Product. Specific temperature for storage condition should be indicated. Not acceptable by using these terms such as “ambient conditions”, “room temperature” or “does not require any special storage condition”; unless enclosed with stability study document. | Storage Conditions
|  | Minimum of 24 months on receipt; unless the item’s manufactured shelf life is less than 24 months; short expiry date items agreed to be accepted by BELTS with prior knowledge before delivery and with letter of undertaking provided. Product with longer shelf-life will be given preference. | a. Product shelf-life b. Minimum shelf-life upon receipt
|  | Indicate 'Yes' or 'No' and its reference if the product offered has been supplied to MOH or BELTS | Indicate if previously supplied to MOH or BELTS (RFQ or Tender Reference with month and year)

## Sch 3 - Item 6 - Item 10
SCHEDULE 3 TECHNICAL PROPOSAL - DETAILS OF PRODUCTS OFFERED THE SUPPLY AND DELIVERY OF MEDICAL CONSUMABLES FOR BRUNEI ENGINEERING, LOGISTICS AND TRAINING SOLUTIONS SDN BHD FOR ONE PLUS ONE (1+1) YEARS TENDER BATCH: BELTS/MSC/PROC/MC/2024/7
No. | PARTICULARS | SPECIFICATION AND REQUIREMENT | INFORMATION REQUIRED | ITEM 6 | ITEM 7 | ITEM 8 | ITEM 9 | ITEM 10
|  |  |  | Opsite Spray, 40ml | Intrasite Gel. 25gm | Urine Bag Disposable, Paediatric 100ml | Urine Bag with Two Compartment for Hourly Measurement of Urine, Disposable | Urine Bag Disposable, Adult 2500ml
1 | Product details | Details of Brand | Product / Brand Name including Item Code (if applicable)
|  | Details of Pack Size and Type of Presentation Offered | Pack Size
|  | The name of Manufacturer where product is obtained and its details | Manufacturer information
2 | Product Specifications | Indicate if the product specifications are met, if not please specify accordingly | Please refer to individual item's required specifications | - a permeable, transparent, water resistant, spray on dressing - it can be used as protection for minor surgical wounds, cuts, grazes, unbroken blisters and dry wounds - quick drying and easy to use - permeable to air and moisture vapour - bacteria-proof film - flexible and elastic | - a clear amorphous hydrogel that encourage rapid but gentle debridement of necrotic tissue, able to absorb sloughly tissue and excess exudate - ideall for every stage in the wound healing process and to provide a moist wound healing environment during later stage of wound closure - contain modified carboxymethyl cellulose polymer, propylene glycol and water - non-adherent - can be easily removed from the wound by irrigation with normal saline; without damaging fragile tissue or cause unnecessary pain for patient - bacteriostatic effect - clinically proven hydrogel - in new easy squeezy applipak - provides controlled delivery of gel for less mess and waste and also in awkward wound sites, dispenses the full amount of gel for cost-effective care - size: 25g applipak | - urine bag paediatric - disposable - single use - sterile - made of PE + paper + sponge - with graduated - directly to touch with body, can't hanged to bedside - can measurement of urine - without drain valve (cannot drain to empty) - capacity: 100ml (front type of flat type) | - capacity: 2,500ml - sterilized by Ethylene Oxide (EO) - 10*120cm transparent inlet tube for measurement use - urine meter with chamber for accurate measuring of hourly diuresis | - closed urinary drainage technology that optimizes patient comfort and environmental friendliness - the bag and inlet tube made of ethylene vinyl acetate copolymers (EVA) unstretchable material that maintains scale accuracy - the interior of the inlet tube is star-shaped, allowing smooth and uninterrupted flow even if the tube is twisted or folded - the drip chamber is designed with a protrusion and a flange - with no-leak air filter that made of a special fluoride-based resin that prevents leak even if it is wet - with non-return valve - provided with outlet tubing clamp - low-profile design for low beds, measure just 255mm from top to bottom - sterilized by electron beam - bag capacity: 2500ml - PVC free - for adult - for medical purposes
3 | Lead Time | Specify the lead time of new production of Goods inclusive redressing, in Weeks or Months | Lead time for New Production of Item including redressing
4 | Delivery Period | Please indicate the lead-time for delivery period including shipment to Brunei Darussalam. The shortest or specific lead-time will be preferred. Not acceptable if language used to describe lead time as “Not more than 60-90 days upon confirmation, however subject to stocks availability upon receipt of purchase order” would be regarded as unspecified lead time which therefore be considered as the longest lead-time | Lead time for delivery of item to Brunei Darussalam
5 | Ex-Stock Availability | Indicate whether existing stock is available for immediate purchase and the quantity in hand. Availability of ex-stock will be preferred | Ex-Stock of item available with supplier
Quantity available
6 | Sample Submitted | *If the conditions below applies to the items offered, Bidders are REQUIRED to submit sample of products for evaluation: • The Bidder has not supplied the product to BELTS or MOH; or • The Bidder has previously supplied the product to BELTS or MOH, however has exceeded two (2) years from the date of Tender released; or Failure to submit samples will automatically disqualify the Bidder from evaluation in the Tender. Samples are required to be submitted in the following conditions with Schedule 4 Technical Proposal - Sample Submission Form: • Must be submitted in untampered original pack including its package insert; • The sample should be labelled with tender reference number and listed item no.; • Must be submitted with Submission of Sample Form; and Bidder are reminded to ensure the product sample match with their offer. | Sample Ref. No (MC/2024/7/Sample…)
7 | Other details / documents provided | The followings are required to be submitted: High resolution and legible color photo images of the following: • Photo images of product offered which must include essential details of label on the primary and secondary packaging such as product name / manufacturer details - from all sides/angles of the packaging. (Please attached with the document) • Brochures with Instruction for use/product manuals submitted (Kindly submit official brochures for offerd items) | Product Images and Product Brochures provided
|  | The storage condition of the product should be labelled in accordance with ASEAN Guideline on Stability Study of Drug Product. Specific temperature for storage condition should be indicated. Not acceptable by using these terms such as “ambient conditions”, “room temperature” or “does not require any special storage condition”; unless enclosed with stability study document. | Storage Conditions
|  | Minimum of 24 months on receipt; unless the item’s manufactured shelf life is less than 24 months; short expiry date items agreed to be accepted by BELTS with prior knowledge before delivery and with letter of undertaking provided. Product with longer shelf-life will be given preference. | a. Product shelf-life b. Minimum shelf-life upon receipt
|  | Indicate 'Yes' or 'No' and its reference if the product offered has been supplied to MOH or BELTS | Indicate if previously supplied to MOH or BELTS (RFQ or Tender Reference with month and year)

## Sch 3 - Item 11 - Item 15
SCHEDULE 3 TECHNICAL PROPOSAL - DETAILS OF PRODUCTS OFFERED THE SUPPLY AND DELIVERY OF MEDICAL CONSUMABLES FOR BRUNEI ENGINEERING, LOGISTICS AND TRAINING SOLUTIONS SDN BHD FOR ONE PLUS ONE (1+1) YEARS TENDER BATCH: BELTS/MSC/PROC/MC/2024/7
No. | PARTICULARS | SPECIFICATION AND REQUIREMENT | INFORMATION REQUIRED | ITEM 11 | ITEM 12 | ITEM 13 | ITEM 14 | ITEM 15
|  |  |  | Bladder Irrigation Set | Alkaline Battery 9 Volts | Alkaline Battery 1.5 Volts Size: D | Alkaline Battery 1.5 Volts Size: C | Alkaline Battery 1.5 Volts Size: AA
1 | Product details | Details of Brand | Product / Brand Name including Item Code (if applicable)
|  | Details of Pack Size and Type of Presentation Offered | Pack Size
|  | The name of Manufacturer where product is obtained and its details | Manufacturer information
2 | Product Specifications | Indicate if the product specifications are met, if not please specify accordingly | Please refer to individual item's required specifications | - I.E tur twin set for intra and post-operative - ecospike no. 2 irrigation set - tur-twin line irrigation set for intra and post-operative urological irrigation - 2 ecospike - connectors - 2 pressure clamp - y-connection - drip chamber - roller clamp - standard cone with 15cm silicone tubing for connection with resectoscopes - flow rate: approximately 800ml/min - tubing length till y-connection: 50cm each - length approximately: 210cm | - alkaline battery 9 Volts - long-lasting: 48-75 hours usage - suitable for any medical equipment | - alkaline battery 1.5 Volts Size: D - long-lasting: 48-75 hours usage - suitable for any medical equipment | - alkaline battery 1.5 Volts Size: C - long-lasting: 48-75 hours usage - suitable for any medical equipment | - alkaline battery 1.5 Volts Size: AA - long-lasting: 48-75 hours usage - suitable for any medical equipment
3 | Lead Time | Specify the lead time of new production of Goods inclusive redressing, in Weeks or Months | Lead time for New Production of Item including redressing
4 | Delivery Period | Please indicate the lead-time for delivery period including shipment to Brunei Darussalam. The shortest or specific lead-time will be preferred. Not acceptable if language used to describe lead time as “Not more than 60-90 days upon confirmation, however subject to stocks availability upon receipt of purchase order” would be regarded as unspecified lead time which therefore be considered as the longest lead-time | Lead time for delivery of item to Brunei Darussalam
5 | Ex-Stock Availability | Indicate whether existing stock is available for immediate purchase and the quantity in hand. Availability of ex-stock will be preferred | Ex-Stock of item available with supplier
Quantity available
6 | Sample Submitted | *If the conditions below applies to the items offered, Bidders are REQUIRED to submit sample of products for evaluation: • The Bidder has not supplied the product to BELTS or MOH; or • The Bidder has previously supplied the product to BELTS or MOH, however has exceeded two (2) years from the date of Tender released; or Failure to submit samples will automatically disqualify the Bidder from evaluation in the Tender. Samples are required to be submitted in the following conditions with Schedule 4 Technical Proposal - Sample Submission Form: • Must be submitted in untampered original pack including its package insert; • The sample should be labelled with tender reference number and listed item no.; • Must be submitted with Submission of Sample Form; and Bidder are reminded to ensure the product sample match with their offer. | Sample Ref. No (MC/2024/7/Sample…)
7 | Other details / documents provided | The followings are required to be submitted: High resolution and legible color photo images of the following: • Photo images of product offered which must include essential details of label on the primary and secondary packaging such as product name / manufacturer details - from all sides/angles of the packaging. (Please attached with the document) • Brochures with Instruction for use/product manuals submitted (Kindly submit official brochures for offerd items) | Product Images and Product Brochures provided
|  | The storage condition of the product should be labelled in accordance with ASEAN Guideline on Stability Study of Drug Product. Specific temperature for storage condition should be indicated. Not acceptable by using these terms such as “ambient conditions”, “room temperature” or “does not require any special storage condition”; unless enclosed with stability study document. | Storage Conditions
|  | Minimum of 24 months on receipt; unless the item’s manufactured shelf life is less than 24 months; short expiry date items agreed to be accepted by BELTS with prior knowledge before delivery and with letter of undertaking provided. Product with longer shelf-life will be given preference. | a. Product shelf-life b. Minimum shelf-life upon receipt
|  | Indicate 'Yes' or 'No' and its reference if the product offered has been supplied to MOH or BELTS | Indicate if previously supplied to MOH or BELTS (RFQ or Tender Reference with month and year)

## Sch 3 - Item 16 - Item 20
SCHEDULE 3 TECHNICAL PROPOSAL - DETAILS OF PRODUCTS OFFERED THE SUPPLY AND DELIVERY OF MEDICAL CONSUMABLES FOR BRUNEI ENGINEERING, LOGISTICS AND TRAINING SOLUTIONS SDN BHD FOR ONE PLUS ONE (1+1) YEARS TENDER BATCH: BELTS/MSC/PROC/MC/2024/7
No. | PARTICULARS | SPECIFICATION AND REQUIREMENT | INFORMATION REQUIRED | ITEM 16 | ITEM 17 | ITEM 18 | ITEM 19 | ITEM 20
|  |  |  | Alkaline Battery 1.5 Volts Size: AAA | Cervical Collar Hard Size: Large | Cervical Collar Hard Size: Medium | Cervical Collar Hard Size: Small | Cervical Collar Soft Size: Large
1 | Product details | Details of Brand | Product / Brand Name including Item Code (if applicable)
|  | Details of Pack Size and Type of Presentation Offered | Pack Size
|  | The name of Manufacturer where product is obtained and its details | Manufacturer information
2 | Product Specifications | Indicate if the product specifications are met, if not please specify accordingly | Please refer to individual item's required specifications | - alkaline battery 1.5 Volts Size: AAA - long-lasting: 48-75 hours usage - suitable for any medical equipment | - plastic type cervical collars - designed to use in the treatment of neck strains and sprains by restricting movement of the cervical vertebrae - sturdy, low density PE sheet edged top and bottom with PVC leather covered foam padding - perforated for excellent air ventilation - contact closure for easy fit and adjustment - two-piece structure - size large: 10cm (w) x 58.5cm (l) | - plastic type cervical collars - designed to use in the treatment of neck strains and sprains by restricting movement of the cervical vertebrae - sturdy, low density PE sheet edged top and bottom with PVC leather covered foam padding - perforated for excellent air ventilation - contact closure for easy fit and adjustment - two-piece structure - size medium: 9cm (w) x 54.5cm (l) | - plastic type cervical collars - designed to use in the treatment of neck strains and sprains by restricting movement of the cervical vertebrae - sturdy, low density PE sheet edged top and bottom with PVC leather covered foam padding - perforated for excellent air ventilation - contact closure for easy fit and adjustment - two-piece structure - size small: 8.5cm (w) x 50.5cm (l) | - breathable stockinette and high density soft foam is comfortable to wear - absorbing perspiration and to keep the user comfortable yet supported - convenient for wear while sleeping - provides limited cervical motion control - cervical facet syndrome - alleviate neck muscles strain or sprain - composition: 65% foam, 30% cotton and 5% nylon - size: large
3 | Lead Time | Specify the lead time of new production of Goods inclusive redressing, in Weeks or Months | Lead time for New Production of Item including redressing
4 | Delivery Period | Please indicate the lead-time for delivery period including shipment to Brunei Darussalam. The shortest or specific lead-time will be preferred. Not acceptable if language used to describe lead time as “Not more than 60-90 days upon confirmation, however subject to stocks availability upon receipt of purchase order” would be regarded as unspecified lead time which therefore be considered as the longest lead-time | Lead time for delivery of item to Brunei Darussalam
5 | Ex-Stock Availability | Indicate whether existing stock is available for immediate purchase and the quantity in hand. Availability of ex-stock will be preferred | Ex-Stock of item available with supplier
Quantity available
6 | Sample Submitted | *If the conditions below applies to the items offered, Bidders are REQUIRED to submit sample of products for evaluation: • The Bidder has not supplied the product to BELTS or MOH; or • The Bidder has previously supplied the product to BELTS or MOH, however has exceeded two (2) years from the date of Tender released; or Failure to submit samples will automatically disqualify the Bidder from evaluation in the Tender. Samples are required to be submitted in the following conditions with Schedule 4 Technical Proposal - Sample Submission Form: • Must be submitted in untampered original pack including its package insert; • The sample should be labelled with tender reference number and listed item no.; • Must be submitted with Submission of Sample Form; and Bidder are reminded to ensure the product sample match with their offer. | Sample Ref. No (MC/2024/7/Sample…)
7 | Other details / documents provided | The followings are required to be submitted: High resolution and legible color photo images of the following: • Photo images of product offered which must include essential details of label on the primary and secondary packaging such as product name / manufacturer details - from all sides/angles of the packaging. (Please attached with the document) • Brochures with Instruction for use/product manuals submitted (Kindly submit official brochures for offerd items) | Product Images and Product Brochures provided
|  | The storage condition of the product should be labelled in accordance with ASEAN Guideline on Stability Study of Drug Product. Specific temperature for storage condition should be indicated. Not acceptable by using these terms such as “ambient conditions”, “room temperature” or “does not require any special storage condition”; unless enclosed with stability study document. | Storage Conditions
|  | Minimum of 24 months on receipt; unless the item’s manufactured shelf life is less than 24 months; short expiry date items agreed to be accepted by BELTS with prior knowledge before delivery and with letter of undertaking provided. Product with longer shelf-life will be given preference. | a. Product shelf-life b. Minimum shelf-life upon receipt
|  | Indicate 'Yes' or 'No' and its reference if the product offered has been supplied to MOH or BELTS | Indicate if previously supplied to MOH or BELTS (RFQ or Tender Reference with month and year)

## Sch 3 - Item 21 - Item 22
SCHEDULE 3 TECHNICAL PROPOSAL - DETAILS OF PRODUCTS OFFERED THE SUPPLY AND DELIVERY OF MEDICAL CONSUMABLES FOR BRUNEI ENGINEERING, LOGISTICS AND TRAINING SOLUTIONS SDN BHD FOR ONE PLUS ONE (1+1) YEARS TENDER BATCH: BELTS/MSC/PROC/MC/2024/7
No. | PARTICULARS | SPECIFICATION AND REQUIREMENT | INFORMATION REQUIRED | ITEM 21 | ITEM 22
|  |  |  | Cervical Collar Soft Size: Medium | Cervical Collar Soft Size: Small
1 | Product details | Details of Brand | Product / Brand Name including Item Code (if applicable)
|  | Details of Pack Size and Type of Presentation Offered | Pack Size
|  | The name of Manufacturer where product is obtained and its details | Manufacturer information
2 | Product Specifications | Indicate if the product specifications are met, if not please specify accordingly | Please refer to individual item's required specifications | - breathable stockinette and high density soft foam is comfortable to wear - absorbing perspiration and to keep the user comfortable yet supported - convenient for wear while sleeping - provides limited cervical motion control - cervical facet syndrome - alleviate neck muscles strain or sprain - composition: 65% foam, 30% cotton and 5% nylon - size: medium | - breathable stockinette and high density soft foam is comfortable to wear - absorbing perspiration and to keep the user comfortable yet supported - convenient for wear while sleeping - provides limited cervical motion control - cervical facet syndrome - alleviate neck muscles strain or sprain - composition: 65% foam, 30% cotton and 5% nylon - size: small
3 | Lead Time | Specify the lead time of new production of Goods inclusive redressing, in Weeks or Months | Lead time for New Production of Item including redressing
4 | Delivery Period | Please indicate the lead-time for delivery period including shipment to Brunei Darussalam. The shortest or specific lead-time will be preferred. Not acceptable if language used to describe lead time as “Not more than 60-90 days upon confirmation, however subject to stocks availability upon receipt of purchase order” would be regarded as unspecified lead time which therefore be considered as the longest lead-time | Lead time for delivery of item to Brunei Darussalam
5 | Ex-Stock Availability | Indicate whether existing stock is available for immediate purchase and the quantity in hand. Availability of ex-stock will be preferred | Ex-Stock of item available with supplier
Quantity available
6 | Sample Submitted | *If the conditions below applies to the items offered, Bidders are REQUIRED to submit sample of products for evaluation: • The Bidder has not supplied the product to BELTS or MOH; or • The Bidder has previously supplied the product to BELTS or MOH, however has exceeded two (2) years from the date of Tender released; or Failure to submit samples will automatically disqualify the Bidder from evaluation in the Tender. Samples are required to be submitted in the following conditions with Schedule 4 Technical Proposal - Sample Submission Form: • Must be submitted in untampered original pack including its package insert; • The sample should be labelled with tender reference number and listed item no.; • Must be submitted with Submission of Sample Form; and Bidder are reminded to ensure the product sample match with their offer. | Sample Ref. No (MC/2024/7/Sample…)
7 | Other details / documents provided | The followings are required to be submitted: High resolution and legible color photo images of the following: • Photo images of product offered which must include essential details of label on the primary and secondary packaging such as product name / manufacturer details - from all sides/angles of the packaging. (Please attached with the document) • Brochures with Instruction for use/product manuals submitted (Kindly submit official brochures for offerd items) | Product Images and Product Brochures provided
|  | The storage condition of the product should be labelled in accordance with ASEAN Guideline on Stability Study of Drug Product. Specific temperature for storage condition should be indicated. Not acceptable by using these terms such as “ambient conditions”, “room temperature” or “does not require any special storage condition”; unless enclosed with stability study document. | Storage Conditions
|  | Minimum of 24 months on receipt; unless the item’s manufactured shelf life is less than 24 months; short expiry date items agreed to be accepted by BELTS with prior knowledge before delivery and with letter of undertaking provided. Product with longer shelf-life will be given preference. | a. Product shelf-life b. Minimum shelf-life upon receipt
|  | Indicate 'Yes' or 'No' and its reference if the product offered has been supplied to MOH or BELTS | Indicate if previously supplied to MOH or BELTS (RFQ or Tender Reference with month and year)