|  |  |  |
| --- | --- | --- |
| **REQUEST FOR QUOTATION (RFQ)** | | Supplier’s Stamp/Signature: |
| Closing Date | : **06 May 2025** |
| Email Submission | : **box7@belts.com.bn** |
| BELTS Ref | : **BELTS/HCCS/RFQ/2025/009** |
| Date of Submission | : Click here to enter text. |
| Supplier/Quote Ref | : Click here to enter text. |

|  |  |
| --- | --- |
| Company Name | **Click here to enter text.** |
| Address | **Click here to enter text.** |
| Phone | Office: **Click here to enter text.** Mobile: **Click here to enter text.** |

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| **No.** | **Item Description** | **Delivery Period** | **Qty/UoM** | **Unit Price** | **Total Price** |
| **1** | **MONTHLY PREVENTIVE MAINTENANCE OF EXISTING 200KVA GENERATOR SET FOR THE PERIOD OF 1 YEAR (FROM 1ST MAY 2025 UNTIL 30th APRIL 2026) AT BELTS STATE MEDICAL STORE/MEDICAL SUPPLY CHAIN (SMS/MSC), SPG 433, RIMBA HIGHWAY, KG. MADARAS.**  **Generator Set details:**  Generator model: Huihe HHCS200 Diesel Generator.  Engine model: Cummins.  Alternator model: Stamford 200kVA 160KW.  **Scope of work:**  A. To supply/deliver/replace liquids and parts for General Servicing (1 time only):   * Coolant. * Filters. * Engine Oil. * Fuel. * To replace the batteries on the month of July 2025.   B. Test the generator set and provide report once completed.  **Note:**  To carry out the general servicing in the month of July 2025. | **01 MAY 2025 UNTIL**  **30APRIL 2026** | **1 AU** | **Click here to enter text.** | **Click here to enter text.** |
| **2** | **Scope of work:**   1. To provide monthly (11 months) of preventative maintenance including parts and liquid change. 2. To test the generator set. 3. Provide monthly report once maintenance is completed. 4. To attend service call during office hours (Monday to Saturday from 8 am to 5 pm).   **Note:**  To carry out the preventive maintenance once a month from 01 May 2025 – 30 April 2026 (11 months, excluding July 2025). | **11 AU** | **Click here to enter text.** | **Click here to enter text.** |
|  | Note:   * For any site visit purposes kindly e-Mail your date & time schedule to [admincorp@belts.com.bn](mailto:admincorp@belts.com.bn) * For any questions or enquiries kindly e-Mail directly to rfq\_enquiry@belts.com.bn * Contractor must implement safety measures to protect workers and the public during installation/delivery work. * Vendors/contractors must adhere to regulatory SHENA safety rules and regulations. | | | | |

|  |  |  |  |
| --- | --- | --- | --- |
| **MANDATORY**  Suppliers are to provide with the Packaging Dimension, Measurement & Weight - in Standard measurement in Meter, Feet, Inches, Cm, Mm, Kg, GM | | **TOTAL PRICE** | **Click here to enter text.** |
| Freight Term (EXW,CIF,ETC) | | | **Click here to enter text.** |
| Freight Charges (IF APPLICABLE) | | | **Click here to enter text.** |
| Any other charges please state | | | **Click here to enter text.** |
| **GRAND TOTAL** | | | **Click here to enter text.** |
| Currency Code : | **BND** | | |
| Price Validity  (Minimum 9 Months) : | **Click here to enter text.** | | |
| Payment Terms : | **30 DAYS CREDIT** | | |
| Warranty : | **Click here to enter text.** | | |
| Mode of Delivery : | **Click here to enter text.** | | |
| Delivery Period : | **Click here to enter text.** | | |
| Country of Manufactured : | **Click here to enter text.** | | |
| Remarks: | **Click here to enter text.** | | |