|  |  |  |
| --- | --- | --- |
| **REQUEST FOR QUOTATION (RFQ)** | | Supplier’s Stamp/Signature: |
| Closing Date | : **13 June 2025** |
| Email Submission | : **box5@belts.com.bn** |
| BELTS Ref | : **BELTS/TRN/TSC/2025/011** |
| Date of Submission | : Click here to enter text. |
| Supplier/Quote Ref | : Click here to enter text. |

|  |  |
| --- | --- |
| Company Name | **Click here to enter text.** |
| Address | **Click here to enter text.** |
| Phone | Office: **Click here to enter text.** Mobile: **Click here to enter text.** |

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| **No.** | **Item Description** | **Delivery Period** | **Qty/UoM** | **Unit Price** | **Total Price** |
| Important Notes:   1. All pricings shall include labour charges, supply of manpower, transportation, use of equipment and tools on site. 2. Interested supplier may request a sit visit to the office location by contacting the following personnel(s);   Name: Morislin, Pg Norhasman, Sara  Email: [shamsiah.mohamad@belts.com.bn](mailto:shamsiah.mohamad@belts.com.bn)  Telephone No: 673 4233233  Suppliers may contact TSC personnel to arrange and confirm the date and time of the site visit, which must be done before the quotation closing date. | | | | | |
| **1.** | **WATERPROOFING WORK ON ROOF AT SIMULATION TRAINING CENTRE, PENANJONG** | | | | |
| **1.1** | **To remove and clean the roofing surface area with high pressure water- jet.**  *Refer to photo: Page 3, 4 & 5* | **2-3 working days upon PO issuance** | **1 LOT** | **Click here to enter text.** | **Click here to enter text.** |
| **1.2** | **To apply and lay waterproofing membrane inclusive one layer for roofing surface.**  *Refer to photo: Page 3, 4 & 5* | **1 LOT** | **Click here to enter text.** | **Click here to enter text.** |
| **1.3** | **To apply waterproof Epoxy Paint inclusive one coat and finishing coat.**  *Refer to photo: Page 3, 4 & 5* | **1 LOT** | **Click here to enter text.** | **Click here to enter text.** |
| **1.4** | **To apply silicone for any defective surface.**  *Refer to photo: Page 3, 4 & 5* | **1 LOT** | **Click here to enter text.** | **Click here to enter text.** |

|  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| **2.** | **CEILING REPAIR WORKS AT SIMULATION TRAINING CENTRE, PENANJONG**  **To replace any faulty sections of the ceiling in the office.**  *Refer to photo : Page 6* | **2-3 working days upon PO issuance** | **1 LOT** | | **Click here to enter text.** | **Click here to enter text.** |
| **MANDATORY**  Suppliers are to provide with the Packaging Dimension, Measurement & Weight - in Standard measurement in Meter, Feet, Inches, Cm, Mm, Kg, GM | | | | **TOTAL PRICE** | | **Click here to enter text.** |
| Freight Term (EXW,CIF,ETC) | | | | | | **Click here to enter text.** |
| Freight Charges (IF APPLICABLE) | | | | | | **Click here to enter text.** |
| Any other charges please state | | | | | | **Click here to enter text.** |
| **GRAND TOTAL** | | | | | | **Click here to enter text.** |

|  |  |
| --- | --- |
| Currency Code : | **BND** |
| Price Validity  (Minimum 9 Months) : | **Click here to enter text.** |
| Payment Terms : | **30 DAYS CREDIT** |
| Warranty : | **Click here to enter text.** |
| Mode of Delivery : | **Click here to enter text.** |
| Delivery Period : | **Click here to enter text.** |
| Country of Manufactured : | **Click here to enter text.** |
| Remarks: | **Click here to enter text.** |

**For Line item No : 1**

**(1.1, 1.2, 1.3, 1.4)**

 

A close up of a roof

AI-generated content may be incorrect. A roof with many white and gray objects

AI-generated content may be incorrect.

A roof with a metal roof

AI-generated content may be incorrect. A white pipe in a hole

AI-generated content may be incorrect.

**For Line item No : 1**

**(1.1, 1.2, 1.3, 1.4)**

A close up of a wall

AI-generated content may be incorrect. A drainage channel with dirt and debris

AI-generated content may be incorrect.

 A concrete wall with white lines

AI-generated content may be incorrect.

**For Line item No : 1**

**(1.1, 1.2, 1.3, 1.4)**

A roof of a building

AI-generated content may be incorrect. A roof with a white line

AI-generated content may be incorrect.

A roof of a building with a street and buildings in the background

AI-generated content may be incorrect.

**For Line item No : 2**

**To replace any faulty sections of the ceiling in the office**

A ceiling with a vent

AI-generated content may be incorrect.

