|  |  |  |
| --- | --- | --- |
| **REQUEST FOR QUOTATION (RFQ)** | | Supplier’s Stamp/Signature: |
| Closing Date | : **12** **September 2025** |
| Email Submission | : **box10@belts.com.bn** |
| BELTS Ref | : **BELTS/HCCS/RFQ/2025/021** |
| Date of Submission | : Click here to enter text. |
| Supplier/Quote Ref | : Click here to enter text. |

|  |  |
| --- | --- |
| Company Name | **Click here to enter text.** |
| Address | **Click here to enter text.** |
| Phone | Office: **Click here to enter text.** Mobile: **Click here to enter text.** |

|  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| **No.** | **Item Description** | **Delivery Period** | **Qty/UoM** | | **Unit Price** | | **Total Price** |
| ELECTRICAL AUDIT FOR BUILDING AND WAREHOUSE AND BELTS MEDICAL SUPPLY CHAIN (MSC).  BELTS invites qualified electrical contractors to conduct a focused electrical audit of our Medical Supply Chain Warehouse to ensure safety, reliability, and efficiency in support of pharmaceutical storage and critical operations. | | | | | | | |
| **1** | **SCOPE OF WORK:**  The electrical audit should include but not be limited to the following:  **Distribution Boards (DBs):**   * Audit all DBs (building + warehouse): physical condition, IP rating, cleanliness, cable terminations, busbar condition. * Check load distribution, phase balancing, wiring integrity, labelling, circuit protection, and spare ways. * Verify breakers’ ratings/settings vs actual loads; note any oversizing/undersizing or coordination issues.   **Circuits & Critical Loads:**   * Inspect plug points and circuits supplying critical equipment (e.g., cold rooms, freezers, HVAC, UPS). * Verify load, functionality, circuit protection, grounding/earthing and RCD/ELCB operation where applicable.   **General Power Usage Assessment:**   * Identify major power-consuming equipment and systems. * Provide recommendations for energy efficiency improvements. * Measure power factor and analyze energy usage trends where possible.   **Power Trip Investigation:**   * Investigate recurring power trips, particularly involving the Main DB. * Conduct root cause analysis and recommend corrective actions. * Ensure all electrical installations comply with local codes and relevant industry standards. * Provide a detailed report with photographs and observations. * Include risk assessment, prioritization of critical issues, and recommendations. | **2-3 WORKING DAYS UPON PO ISSUANCE & PTW APPROVAL** | **1 LOT** | | **Click here to enter text.** | | **Click here to enter text.** | |
|  | **Note:**   * **The address is at:** * BELTS Medical Supply Chain (MSC), Spg 433, Rimba Highway, Kg. Madaras. * For any site visit request, kindly email your proposed date & time schedule to [admincorp@belts.com.bn](mailto:admincorp@belts.com.bn) * For any questions or enquiries kindly e-Mail directly to [rfq\_enquiry@belts.com.bn](mailto:rfq_enquiry@belts.com.bn) * Contractors must implement safety measures to protect workers and public during installation/delivery work. * Vendors/contractors must adhere to regulatory SHENA safety rules and regulations. * The vendor awarded for this RFQ must submit a complete Permit To Work (PTW) document checklists requested for the work. | | | | | | |
| **MANDATORY**  Suppliers are to provide with the Packaging Dimension, Measurement & Weight - in Standard measurement in Meter, Feet, Inches, Cm, Mm, Kg, GM | | | | **TOTAL PRICE** | | **Click here to enter text.** | |
| Freight Term (EXW,CIF,ETC) | | | | | | **Click here to enter text.** | |
| Freight Charges (IF APPLICABLE) | | | | | | **Click here to enter text.** | |
| Any other charges please state | | | | | | **Click here to enter text.** | |
| **GRAND TOTAL** | | | | | | **Click here to enter text.** | |

|  |  |
| --- | --- |
| Currency Code : | **BND** |
| Price Validity  (Minimum 9 Months) : | **Click here to enter text.** |
| Payment Terms : | **30 DAYS CREDIT** |
| Warranty : | **Click here to enter text.** |
| Mode of Delivery : | **Click here to enter text.** |
| Delivery Period : | **Click here to enter text.** |
| Country of Manufactured : | **Click here to enter text.** |
| Remarks: | **Click here to enter text.** |