|  |  |  |
| --- | --- | --- |
| **REQUEST FOR QUOTATION (RFQ)** | | Supplier’s Stamp/Signature: |
| Closing Date | : 15 September 2025 |
| Email Submission | **: box1@belts.com.bn** |
| BELTS Ref | **: BELTS/MSC/RFQ/SEPT/001** |
| Date of Submission |  |
| Supplier/Quote Ref | : Click here to enter text. |

|  |  |
| --- | --- |
| Company Name | **Click here to enter text.** |
| Address | **Click here to enter text.** |
| Phone | Office: **Click here to enter text.** Mobile: **Click here to enter text.** |

|  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| **No.** | **Item Description** | **Delivery Period** | **Qty/UoM** | | **Unit Price** | **Total Price** |
| **1.** | Supply and installation of an air curtain at the Receiving Area, Shutter Door 2.   * **Type:**   **Industrial-grade air curtain,** suitable for large shutter doors   * Installation Height:   **Up to 4meters**   * Door Width Coverage: **Approx. 3.2M** * **Air Velocity:**   Minimum **15–20 m/s (to effectively block dust, insects, and outside air)**   * **Mounting:**   Wall-mounted Installation above the door with proper brackets included   * **Warranty:**   Minimum 1 year (parts and service)  Delivery & Installation Address:  **Medical Supply Chain**  **State Medical Store, Ministry of Health,**  **Simpang 433, Rimba Highway,**  **Kampong Madaras,**  **Bandar Seri Begawan BE3119**  **Brunei Darussalam** | **1 week after PO issueance** | **1 Lot** | |  |  |
|  | **Remarks:**   1. This purchase is urgently required to support warehouse operations. 2. Vendors who require a site visit can set an appointment with **Shamsulbadri Bin Haji Daud**   Or **Amp Norzaidi Bin Amp Abd Hamid** at **2223434 ext 101.**   1. Interested vendors may conduct a visit of the installation site on **Monday through Thursday from 2:00pm – 3:00pm**. Please email your site visit request with full details of the personnel(s) who will be attending to [rfq\_enquiry@belts.com.bn](mailto:rfq_enquiry@belts.com.bn) 2. For any question or enquiry, please email directly to **rfq\_enquiry@belts.com.bn** 3. Awarded vendors must implement safety measures to protect workers and the public during installation/delivery work. 4. Vendors/contractors must adhere to regulatory SHENA safety rules and regulations. | | | | | |
| **MANDATORY**  Suppliers are to provide with the Packaging Dimension, Measurement & Weight - in Standard measurement in Meter, Feet, Inches, Cm, Mm, Kg, GM | | | | **TOTAL PRICE** | | **Click here to enter text.** |
| Freight Term (EXW,CIF,ETC) | | | | | | **Click here to enter text.** |
| Freight Charges (IF APPLICABLE) | | | | | | **Click here to enter text.** |
| Any other charges please state | | | | | | **Click here to enter text.** |
| **GRAND TOTAL** | | | | | | **Click here to enter text.** |

|  |  |
| --- | --- |
| Currency Code : | **BND** |
| Price Validity  (Minimum 9 Months) : | **Click here to enter text.** |
| Payment Terms : | **30 DAYS CREDIT** |
| Warranty : |  |
| Mode of Delivery : | **Click here to enter text.** |
| Delivery Period : | **Click here to enter text.** |
| Country of Manufactured : | **Click here to enter text.** |
| Remarks: |  |