|  |  |  |
| --- | --- | --- |
| **REQUEST FOR QUOTATION (RFQ)** | | Supplier’s Stamp/Signature: |
| Closing Date | : 16 September 2025 |
| Email Submission | **: box2@belts.com.bn** |
| BELTS Ref | **: BELTS/MSC/RFQ/SEPT/002** |
| Date of Submission | : |
| Supplier/Quote Ref | : Click here to enter text. |

|  |  |
| --- | --- |
| Company Name | **Click here to enter text.** |
| Address | **Click here to enter text.** |
| Phone | Office: **Click here to enter text.** Mobile: **Click here to enter text.** |

|  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| **No.** | **Item Description** | **Delivery Period** | **Qty/UoM** | | **Unit Price** | **Total Price** |
| **1.** | Supply and Delivery of Credo – cold chain:  Specifications:   * **Temperature Range:**   2°C to 8°C (refrigerated)   * **Performance Duration:** Minimum **96 hours validated protection** (longer durations preferred). * **Payload Capacity:** 28L (**medium)**   **Dimension:**  **External dimensions: 457 mm (L) × 419 mm (W) × 432 mm (H)**  **Internal (payload) dimensions: 305 mm × 305 mm × 305 mm**   * **Compliance Standards:** WHO PQS, GDP, IATA/ICAO regulations. * **Materials:** Durable, reusable insulated casing with PCM (Phase Change Material) or dry ice compatibility.   **Monitoring Capability:**  Temperature logger/data logger compatibility  **Optional** GPS or remote monitoring   * **Warranty:** Minimum 1-year warranty including after-sales service. * **Support & Services:**   Pre-conditioning services (if required)  Training in proper handling and reconditioning   * Availability of spare parts   **Note:**   * Sample for testing and review is to be sent **to Medical Supply Chain (MSC) Spg 433, Kg Madaras Rimba Highway from Monday to Thursday, from 2:00pm to 3:00pm.** * Testing will be carried out for 3 days. * The test sample will be returned to supplier after the testing period. | **1 week after PO issuance** | **4 units** | |  |  |
| **MANDATORY**  Suppliers are to provide with the Packaging Dimension, Measurement & Weight - in Standard measurement in Meter, Feet, Inches, Cm, Mm, Kg, GM | | | | **TOTAL PRICE** | | **Click here to enter text.** |
| Freight Term (EXW,CIF,ETC) | | | | | | **Click here to enter text.** |
| Freight Charges (IF APPLICABLE) | | | | | | **Click here to enter text.** |
| Any other charges please state | | | | | | **Click here to enter text.** |
| **GRAND TOTAL** | | | | | | **Click here to enter text.** |

|  |  |
| --- | --- |
| Currency Code : | **BND** |
| Price Validity  (Minimum 9 Months) : | **Click here to enter text.** |
| Payment Terms : | **30 DAYS CREDIT** |
| Warranty : |  |
| Mode of Delivery : | **Click here to enter text.** |
| Delivery Period : | **Click here to enter text.** |
| Country of Manufactured : | **Click here to enter text.** |
| Remarks: | **This purchase is urgently required to support warehouse operations** |