| REQUEST FOR QUOTATION (RFQ) |  | Supplier’s Stamp/Signature: |
| --- | --- | --- |
| Closing Date | : 12 December 2025 |  |
| Email Submission | : box5@belts.com.bn |  |
| BELTS Ref | : BELTS/LSS-FM/RFQ/2025/003 |  |
| Date of Submission | : Click here to enter text. |  |
| Supplier/Quote Ref | : Click here to enter text. |  |

| Company Name | Click here to enter text. |
| --- | --- |
| Address | Click here to enter text. |
| Phone | Office: Click here to enter text. Mobile: Click here to enter text. |

| No. | Item Description | Delivery Period | Qty/UoM |  | Unit Price | Total Price |
| --- | --- | --- | --- | --- | --- | --- |
| 1. | CORRECTIVE MAINTENANCE FOR BELTS MEDICAL SUPPLY CHAIN (MSC) SPG 433, RIMBA HIGHWAY, KG. MADARAS. SCOPE OF WORK: The contractor shall carry out corrective maintenance to repair or replace the following defective items: - Power switches/sockets in the receiving area, inside the warehouse and the surrounding areas | 7-10 WORKING DAYS UPON PO ISSUANCE & PTW APPROVAL | UN |  | Click here to enter text. | Click here to enter text. |
|  | - Cracked tiles on the entrance staircase, level 1 staircase and the surrounding areas |  | 1 LOT |  | Click here to enter text. | Click here to enter text. |
|  | - 18 units of Solar-power LED Floodlight 500W require replacement |  | UN |  | Click here to enter text. | Click here to enter text. |
|  | - Ceiling board outside the receiving area. |  | 1 LOT |  | Click here to enter text. | Click here to enter text. |
|  | - Mold on the wall near server room, 1st floor. |  | 1 LOT |  | Click here to enter text. | Click here to enter text. |
|  | - Cracked wall at procurement office, 1st floor |  | 1 LOT |  | Click here to enter text. | Click here to enter text. |
|  | - Painting works required at sales and billing office, 1st floor |  | 1 LOT |  | Click here to enter text. | Click here to enter text. |
|  | - 2 units of door hinge on the 1st floor Meeting Room |  | UN |  | Click here to enter text. | Click here to enter text. |
|  | - 2 units of door hinge on the 1st floor Male & Female Toilet |  | UN |  | Click here to enter text. | Click here to enter text. |
|  | - 1 unit of door hinge on the 1st Floor Female Surau |  | UN |  | Click here to enter text. | Click here to enter text. |
|  | - 6 units of door hinge, ground floor, Warehouse Area |  | UN |  | Click here to enter text. | Click here to enter text. |
|  | - 11 units of new handheld toilet hose bidet |  | UN |  | Click here to enter text. | Click here to enter text. |
|  | - 8 units of new toilet seat |  | UN |  | Click here to enter text. | Click here to enter text. |
| 2. | CORRECTIVE MAINTENANCE FOR BELTS SIMULATION TRAINING CENTRE (STC) PENANJONG GARRISON, TUTONG. SCOPE OF WORK: The contractor shall carry out corrective maintenance to repair or replace the following defective items: - Window with missing handle on the 1st floor. |  | UN |  | Click here to enter text. | Click here to enter text. |
|  | - Unstable chairs. |  | SET |  | Click here to enter text. | Click here to enter text. |
|  | - To repaint faded parking lines, road kerbs and road arrows. |  | 1 LOT |  | Click here to enter text. | Click here to enter text. |
|  | - To clean and repaint with anti-mould paint of the building corridor ceiling. |  | 1 LOT |  | Click here to enter text. | Click here to enter text. |
|  | - Broken tiles |  | 1 LOT |  | Click here to enter text. | Click here to enter text. |
|  | - Gaps in ceiling on the balcony |  | 1 LOT |  | Click here to enter text. | Click here to enter text. |
|  | - Damaged carpet |  | 1 LOT |  | Click here to enter text. | Click here to enter text. |
|  | - Damaged rubber mat near equipment |  | UN |  | Click here to enter text. | Click here to enter text. |
|  | - Broken trapdoor |  | UN |  | Click here to enter text. | Click here to enter text. |
|  | - To remove scattered nails under the stage |  | 1 LOT |  | Click here to enter text. | Click here to enter text. |
|  | - Faulty electrical switchboard (6L1) |  | UN |  | Click here to enter text. | Click here to enter text. |
|  | - Faulty electric socket in janitor room |  | UN |  | Click here to enter text. | Click here to enter text. |
|  | Note: - For any site visit request, kindly email your proposed date & time schedule to admincorp@belts.com.bn - For any questions or enquiries kindly e-Mail directly to rfq_enquiry@belts.com.bn - Contractors must implement safety measures to protect workers and public during installation/delivery work. - Vendors/contractors must adhere to regulatory SHENA safety rules and regulations. - The vendor participating in this RFQ is required to submit a complete Permit To Work (PTW) documentation in accordance with the checklist provided in Annex B. The PTW documents shall be compiled and submitted as a single combined PDF file. |  |  |  |  |  |
| MANDATORY Suppliers are to provide with the Packaging Dimension, Measurement & Weight - in Standard measurement in Meter, Feet, Inches, Cm, Mm, Kg, GM |  |  |  | TOTAL PRICE |  | Click here to enter text. |
| Freight Term (EXW,CIF,ETC) |  |  |  |  |  | Click here to enter text. |
| Freight Charges (IF APPLICABLE) |  |  |  |  |  | Click here to enter text. |
| Any other charges please state |  |  |  |  |  | Click here to enter text. |
| GRAND TOTAL |  |  |  |  |  | Click here to enter text. |

| Currency Code : | BND |
| --- | --- |
| Price Validity (Minimum 9 Months) : | Click here to enter text. |
| Payment Terms : | 30 DAYS CREDIT |
| Warranty : | Click here to enter text. |
| Mode of Delivery : | Click here to enter text. |
| Delivery Period : | Click here to enter text. |
| Country of Manufactured : | Click here to enter text. |
| Remarks: | Click here to enter text. |