| REQUEST FOR QUOTATION (RFQ) |  | Supplier’s Stamp/Signature: |
| --- | --- | --- |
| Closing Date | : 12 February 2026 |  |
| Email Submission | : box9@belts.com.bn |  |
| BELTS Ref | : BELTS/HCCS/RFQ/2026/001 |  |
| Date of Submission | : Click here to enter text. |  |
| Supplier/Quote Ref | : Click here to enter text. |  |

| Company Name | Click here to enter text. |
| --- | --- |
| Address | Click here to enter text. |
| Phone | Office: Click here to enter text. Mobile: Click here to enter text. |

| No. | Item Description | Delivery Period | Qty/UoM | Unit Price | Total Price |
| --- | --- | --- | --- | --- | --- |
| 1 | MAINTENANCE AND SERVICING OF AIR-CONDITIONING SYSTEM FROM 01 MARCH 2026 UNTIL 28 FEBRUARY 2027 Scope: - To provide 2 times General Servicing. Location: BELTS Headquarters (HQ). 5th and 6th Floor, Setia Kenangan Office Block Setia Kenangan Complex, Kampong Kiulap. Remarks: - Kindly refer to ATTACHMENT 1 attached below. | 01 March 2026 to 28 February 2027 | 2 AU | Click here to enter text. | Click here to enter text. |
| 2 | Scope: - To provide 2 times Routine Servicing. Location: BELTS Maintenance, Repair & Overhaul (MRO). Lot 11 & 12, Spg 557, Tapak Perindustrian Kg Salar, Jalan Muara. Remarks: - Kindly refer to ATTACHMENT 2 attached below. |  | 2 AU | Click here to enter text. | Click here to enter text. |
| 3 | Scope: - To provide 1-time General Servicing. Location: BELTS Maintenance, Repair & Overhaul (MRO). Lot 11 & 12, Spg 557, Tapak Perindustrian Kg Salar, Jalan Muara. Remarks: - Kindly refer to ATTACHMENT 2 attached below. |  | 1 AU | Click here to enter text. | Click here to enter text. |
| 4 | Scope: - To provide 2 times General Servicing. Location: BELTS Paintball Arena Jerudong (PAJ). Spg 265, 265-33 Jerudong Sports Complex Ministry of Culture, Youth and Sports, Jalan Jerudong. Remarks: - Kindly refer to ATTACHMENT 3 attached below. |  | 2 AU | Click here to enter text. | Click here to enter text. |
| 5 | Scope: - To provide 2 times Routine Servicing. Location: BELTS Training Simulation Centre (TSC). Penanjong Garrison. Remarks: - Kindly refer to ATTACHMENT 4 attached below. |  | 2 AU | Click here to enter text. | Click here to enter text. |
| 6 | Scope: - To provide 1-time General Servicing. Location: BELTS Training Simulation Centre (TSC). Penanjong Garrison. Remarks: - Kindly refer to ATTACHMENT 4 attached below. |  | 1 AU | Click here to enter text. | Click here to enter text. |
| 7 | Scope: - To provide 5 times Routine Servicing (every 2 months). Location: BELTS State Medical Store/Medical Supply Chain (SMS/MSC). Spg 433, Rimba Highway, Kampong Madaras. Remarks: - Kindly refer to ATTACHMENT 5 attached below. |  | 5 AU | Click here to enter text. | Click here to enter text. |
| 8 | Scope: - To provide 1-time General Servicing. Location: BELTS State Medical Store/Medical Supply Chain (SMS/MSC). Spg 433, Rimba Highway, Kampong Madaras. Remarks: - Kindly refer to ATTACHMENT 5 attached below. |  | 1 AU | Click here to enter text. | Click here to enter text. |
|  | Note: - The contractor may carry out site visit before submitting quotation. - For any site visit request, kindly e-Mail your proposed date & time schedule to admincorp@belts.com.bn - For any questions or enquiries kindly e-Mail directly to rfq_enquiry@belts.com.bn - Contractors must implement safety measures to protect workers and the public during installation/delivery work. - Vendors/contractors must adhere to regulatory SHENA safety rules and regulations. |  |  |  |  |

| MANDATORY Suppliers are to provide with the Packaging Dimension, Measurement & Weight - in Standard measurement in Meter, Feet, Inches, Cm, Mm, Kg, GM |  | TOTAL PRICE | Click here to enter text. |
| --- | --- | --- | --- |
| Freight Term (EXW,CIF,ETC) |  |  | Click here to enter text. |
| Freight Charges (IF APPLICABLE) |  |  | Click here to enter text. |
| Any other charges please state |  |  | Click here to enter text. |
| GRAND TOTAL |  |  | Click here to enter text. |
| Currency Code : | BND |  |  |
| Price Validity (Minimum 9 Months) : | Click here to enter text. |  |  |
| Payment Terms : | 30 DAYS CREDIT |  |  |
| Warranty : | Click here to enter text. |  |  |
| Mode of Delivery : | Click here to enter text. |  |  |
| Delivery Period : | Click here to enter text. |  |  |
| Country of Manufactured : | Click here to enter text. |  |  |
| Remarks: | Click here to enter text. |  |  |

ATTACHMENT 1 – Headquarters (HQ), Kiulap:

| ITEM | AREA | CAPACITY (HP) | QUANTITY (UNIT) | TOTAL AIR CONDITIONERS | MAINTENANCE SCHEDULE | DURATION |
| --- | --- | --- | --- | --- | --- | --- |
| 1 | Level 6 Menchanai Room – Ceiling type. | 5 | 1 | 4 Units | To provide 2 time general servicing | 01 March 2026 To 28 February 2027 |
|  | Level 6 Mutiara Room – Ceiling type. | 5 | 1 |  |  |  |
|  | Level 5 Server Room – Standing type. | 5 | 2 |  |  |  |
| 2 | Breakdown attendance to any complaints, issues, troubleshooting, submitting reports, carrying out minor repairs do not require any replacement of part, reset, test to normal working order. |  |  |  |  | Monday to Friday (Working hours) |

ATTACHMENT 2 – BELTS Maintenance, Repair & Overhaul (MRO), Kg. Salar:

| ITEM | AREA | CAPACITY (HP) | QUANTITY (UNIT) | TOTAL AIR CONDITIONERS | MAINTENANCE SCHEDULE | DURATION |
| --- | --- | --- | --- | --- | --- | --- |
| New Building |  |  |  | 28 units. | To provide 2 times routine servicing & 1-time general servicing. | 01 March 2026 To 28 February 2027 |
| 1 | Reception | 2 | 1 |  |  |  |
|  | New Technician Office | 3 | 1 |  |  |  |
|  | New Logistic Office | 3 | 1 |  |  |  |
|  | Spare Part Store | 3 | 4 |  |  |  |
|  | EMC Room | 3 | 2 |  |  |  |
|  | Pantry | 3 | 1 |  |  |  |
|  | Sick Bay | 1 | 1 |  |  |  |
|  | Overhaul Room | 2 | 1 |  |  |  |
|  | Guard House | 1 | 1 |  |  |  |
|  | Male Surau | 2 | 1 |  |  |  |
|  | Female Surau | 1.5 | 1 |  |  |  |
|  | Customer Waiting Area | 2.5 | 1 |  |  |  |
|  | Network Room | 3 | 2 |  |  |  |
|  | Conference Room | 2 | 1 |  |  |  |
|  | Discussion 1 | 2 | 1 |  |  |  |
|  | Staff lounge | 1.5 | 1 |  |  |  |
|  | Nursing Room | 1.5 | 1 |  |  |  |
|  | Staff Office | 3 | 3 |  |  |  |
|  | Operation Manager | 2 | 1 |  |  |  |
|  | Filing / Technical Library Room | 2 | 2 |  |  |  |
| Repaircraft (old building) – Ground floor |  |  |  | 7 units. |  |  |
| 2 | David Office | 1.5 Carrier WM | 1 |  |  |  |
|  | Second office (1) | 1.5 Carrier | 1 |  |  |  |
|  | Second office (2) | 1.5 Carrier | 1 |  |  |  |
|  | Hallway | 1.5 Carrier WM | 1 |  |  |  |
|  | Warehouse | 1.5 Sharp WM | 1 |  |  |  |
|  | Gun room (1) | 3.0 Fujiaire WM | 1 |  |  |  |
|  | Gun room (2) | 3.0 Fujiaire WM | 1 |  |  |  |
| Repaircraft (old building) – Second floor |  |  |  | 3 units. |  |  |
| 3 | Surau | 2.0 York WM | 1 |  |  |  |
|  | Store (1) | 2.0 Aifa RAC | 1 |  |  |  |
|  | Store (2) | 2.0 Aifa RAC | 1 |  |  |  |
| 4 | Breakdown attendance to any complaints, issues, troubleshooting, submitting reports, carrying out minor repairs, those do not require any replacement of part, reset, test to normal working order. |  |  |  |  | Monday to Friday (Working hours) |

ATTACHMENT 3 – Paintball Arena Jerudong (PAJ):

| ITEM | AREA | CAPACITY (HP) | QUANTITY (UNIT) | TOTAL AIR CONDITIONERS | MAINTENANCE SCHEDULE | DURATION |
| --- | --- | --- | --- | --- | --- | --- |
| 1 | Strong Room | 1.5 | 1 | 6 Units | To provide 2 time general servicing | 01 March 2026 To 28 February 2027 |
|  | Pantry | 2 | 1 |  |  |  |
|  | Lobby | 5 | 4 |  |  |  |
| 2 | Breakdown attendance to any complaints, issues, troubleshooting, submitting reports, carrying out minor repairs, those do not require any replacement of part, reset, test to normal working order. |  |  |  |  | Tuesday, Wednesday & Friday to Sunday (Working hours) |

ATTACHMENT 4 – Training Simulation Centre (TSC), Penanjong Garrison:

| LOCATION | TYPE OF AC |  |
| --- | --- | --- |
|  | CEILING | SPLIT |
| GROUND FLOOR |  |  |
| FOYER 1 | 1 | - |
| VIP PANTRY | - | 1 |
| VIP LOUNGE | 1 |  |
| VIP POWDER ROOM | - | 1 |
| BRIEFING HALL | 4 | - |
| FOYER 2 | 1 | - |
| SERVER ROOM | - | 2 |
| JANITOR ROOM | - | 1 |
| MULTIPURPOSE ROOM | - | 1 |
| ARMOURY ROOM | - | 3 |
| MORTAR ROOM | 2 | 3 |
| FIRST FLOOR |  |  |
| FOYER | 4 | - |
| SATS 1 | 6 | - |
| SATS 2 | 6 | - |
| EXECUTIVE ROOM 1 | - | 3 |
| TSC MANAGEMENT ROOM | - | 1 |
| EXECUTIVE ROOM 2 | 2 | - |
| EXECUTIVE LOUNGE | - | 3 |
| CONFERENCE ROOM | 1 | - |
| SURAU ROOM | - | 1 |
| Total Quantity | 28 Units. | 20 Units. |

ATTACHMENT 5 – Medical Supply Chain (MSC), Spg. 433, Rimba Highway, Kg. Madaras:

| Item | Descriptions |
| --- | --- |
| 1 | To provide 5 times Routine Servicing (every 2 months) & 1 time general servicing Location: Roof top Air Cooled DX CCU Bi-monthly (10 Nos x 5 times) Annually (10 Nos x 1) |
| 2 | Air Cooled DX FCU Bi-Monthly (5 Nos x 5 times) Annually (5 Nos x 1) |
| 3 | VRV CCU Bi-Monthly (2 Nos x 5 times) Annually (2 Nos x 1) |
| 4 | AHU and Control Panel (complete set) Bi-Monthly (4 Nos x 5 times) Annually (4 Nos x 1) |
| 5 | Location: 1st Floor VRV FCU Bi-Monthly (15 Nos x 5 times) Annually (15 Nos x 1) |
| 6 | Split Units CCU/FCU Bi-Monthly (10 Nos x 5 times) Annually (10 Nos x 1) |
| 7 | Location: Ground Floor Split Units CCU/FCU Bi-Monthly (4 Nos x 5 times) Annually (4 Nos x 1) |
| 8 | Air Cooled DX FCU Bi-Monthly (4 Nos x 5 times) Annually (4 Nos x 1) |
| 9 | Location: Guard Room Split Units CCU/FCU Bi-Monthly (1 No x 5 times) Annually (1 No x 1) |
| 10 | Location: Ground Floor (Cold Room) Cold Room CCU Bi-Monthly (2 Nos x 5 times) Annually (2 Nos x 1) |
| 11 | Cold Room FCU Bi-Monthly (4 Nos x 5 times) Annually (4 Nos x 1) |
| 12 | Breakdown attendance to any complaints, issues, troubleshooting, submitting reports, carrying out minor repairs, those do not require any replacement of part, reset, test to normal working order on a 24hrs/7 days a week basis (12 months). |