|  |  |  |
| --- | --- | --- |
| **REQUEST FOR QUOTATION (RFQ)** | | Supplier’s Stamp/Signature: |
| Closing Date | **: 27 February 2026** |
| Email Submission | **: box10@belts.com.bn** |
| BELTS Ref | : **BELTS/LSS-FM/RFQ/25-26/005** |
| Date of Submission | : Click here to enter text. |
| Supplier/Quote Ref | : Click here to enter text. |

|  |  |
| --- | --- |
| Company Name | **Click here to enter text.** |
| Address | **Click here to enter text.** |
| Phone | Office: **Click here to enter text.** Mobile: **Click here to enter text.** |

|  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| **No.** | **Item Description** | **Delivery Period** | **Qty/UoM** | | **Unit Price** | **Total Price** |
| The contractor shall carry out the replacement of the power points at BELTS Simulation Training Centre, Penanjong Camp. The objective of this work is to ensure all affected power points within the facility are restored to proper working conditions to aid daily operational activities.  The scope of work shall include, but is not limited to, the following:   * Conduct inspection and assessment of the existing power points at the Reception Area and Janitor Room. * Replace the faulty and/or damaged power points as necessary. * Ensure proper wiring connection and perform testing and commissioning to confirm proper functionality and safety compliance. * Dispose of all debris and leave the work area clean and tidy upon completion.   All works shall comply with relevant electrical standards and safety regulations. | | | | | | |
| **1.** | **Replacement of the following power point:** | | | | | |
| **A** | **Location: Reception Area** |  | | | | |
|  |  |  | **1** | | **Click here to enter text.** | **Click here to enter text.** |
| **B** | **Location: Janitor Room** |  | | | | |
|  |  |  | **1** | | **Click here to enter text.** | **Click here to enter text.** |
|  | Note:   * The address is at: * BELTS Simulation Training Centre, Penanjong Camp. * For any site visit request, kindly email your proposed date & time schedule to [admincorp@belts.com.bn](mailto:admincorp@belts.com.bn) * For any questions or enquiries, kindly email directly to [rfq\_enquiry@belts.com.bn](mailto:rfq_enquiry@belts.com.bn) * Contractors must implement safety measures to protect workers and public during installation/delivery work. * Vendors/contractors must adhere to regulatory SHENA safety rules and regulations. * The vendor participating in this RFQ is required to submit a complete Permit To Work (PTW) documentation in accordance with the checklist provided in Annex B. The PTW documents shall be compiled and submitted as a single combined PDF file. | | | | | |
| **MANDATORY**  Suppliers are to provide with the Packaging Dimension, Measurement & Weight - in Standard measurement in Meter, Feet, Inches, Cm, Mm, Kg, GM | | | | **TOTAL PRICE** | | **Click here to enter text.** |
| Freight Term (EXW, CIF, ETC) | | | | | | **Click here to enter text.** |
| Freight Charges (IF APPLICABLE) | | | | | | **Click here to enter text.** |
| Any other charges please state | | | | | | **Click here to enter text.** |
| **GRAND TOTAL** | | | | | | **Click here to enter text.** |

|  |  |
| --- | --- |
| Currency Code: | **BND** |
| Price Validity  (Minimum 9 Months): | **Click here to enter text.** |
| Payment Terms: | **30 DAYS CREDIT** |
| Warranty: | **Click here to enter text.** |
| Mode of Delivery: | **Click here to enter text.** |
| Delivery Period: | **Click here to enter text.** |
| Country of Manufactured: | **Click here to enter text.** |
| Remarks: | **Click here to enter text.** |