| REQUEST FOR QUOTATION (RFQ) |  | Supplier’s Stamp/Signature: |
| --- | --- | --- |
| Closing Date | : 13 March 2026 |  |
| Email Submission | : box10@belts.com.bn |  |
| BELTS Ref | : BELTS/LSS-FM/RFQ/25-26/006 |  |
| Date of Submission | : Click here to enter text. |  |
| Supplier/Quote Ref | : Click here to enter text. |  |

| Company Name | Click here to enter text. |
| --- | --- |
| Address | Click here to enter text. |
| Phone | Office: Click here to enter text. Mobile: Click here to enter text. |

| No. | Item Description | Delivery Period | Qty/UoM |  | Unit Price | Total Price |
| --- | --- | --- | --- | --- | --- | --- |
| The Facilities Maintenance Unit invites qualified contractors to submit quotations for the inspection, testing and rectification of the Lighting Protection System (LPS) installed at the ESH Storage Facility, Penanjong Camp. The objective is to ensure the system is fully functional, compliant with current safety standards, and capable of providing adequate protection against Lightning related risks. For reference, photos of the existing Lightning Protection Systems are provided in Annex C of the attached document. The scope of work shall include, but is not limited to, the following: |  |  |  |  |  |  |
| 1. | Physical and Functional Testing |  |  |  |  |  |
|  | The contractor shall perform the following tests to verify the integrity and performance of the Lightning Protection System (LPS): Continuity and Resistance Testing - Measure and verify the electrical continuity of all down conductors. - Test the resistance of the grounding system to ensure it meets the required safety thresholds. Functionality Testing of Surge Protection Devices (SPDs) and Monitoring Systems - Inspect and test surge protection devices for proper operation. - Verify that any monitoring systems are functioning correctly and accurately reporting status. Standards Compliance Verification - Ensure all testing procedures and results comply with relevant standards, such as BS EN 62305, IEC 62305, or applicable local regulations. | 7-10 WORKING DAYS UPON PO ISSUANCE & PTW APPROVAL |  |  | Click here to enter text. | Click here to enter text. |
| 2. | Rectification and Recommendations |  |  |  |  |  |
|  | Based on the results of inspection and testing, the contractor shall: Rectification Work - Propose and carry out necessary rectifications, repairs, or replacements to ensure the Lightning Protection System (LPS) is fully functional and safe. Recommendations - Provide a detailed report with recommendations prioritized according to risk level and potential impact on personnel, assets, and facility operations. - Include guidance for preventive measures to maintain long-term system reliability and compliance with applicable safety standards. |  |  |  | Click here to enter text. | Click here to enter text. |
|  | Note: - The address is at: - BELTS ESH Storage Facility, Penanjong Camp. - For any site visit request, kindly email your proposed date & time schedule to admincorp@belts.com.bn - For any questions or enquiries, kindly email directly to rfq_enquiry@belts.com.bn - Contractors must implement safety measures to protect workers and public during installation/delivery work. - Vendors/contractors must adhere to regulatory SHENA safety rules and regulations. - The vendor participating in this RFQ is required to submit a complete Permit To Work (PTW) documentation in accordance with the checklist provided in Annex B. The PTW documents shall be compiled and submitted as a single combined PDF file. |  |  |  |  |  |
| MANDATORY Suppliers are to provide with the Packaging Dimension, Measurement & Weight - in Standard measurement in Meter, Feet, Inches, Cm, Mm, Kg, GM |  |  |  | TOTAL PRICE |  | Click here to enter text. |
| Freight Term (EXW, CIF, ETC) |  |  |  |  |  | Click here to enter text. |
| Freight Charges (IF APPLICABLE) |  |  |  |  |  | Click here to enter text. |
| Any other charges please state |  |  |  |  |  | Click here to enter text. |
| GRAND TOTAL |  |  |  |  |  | Click here to enter text. |

| Currency Code: | BND |
| --- | --- |
| Price Validity (Minimum 9 Months): | Click here to enter text. |
| Payment Terms: | 30 DAYS CREDIT |
| Warranty: | Click here to enter text. |
| Mode of Delivery: | Click here to enter text. |
| Delivery Period: | Click here to enter text. |
| Country of Manufactured: | Click here to enter text. |
| Remarks: | Click here to enter text. |